| [ INSERT YOUR COMPANY NAME HERE ] Health & Safety Forms & Logs | Date: ____________________ Log ID: ____________________ Version: 1.0 |
| --- | --- |

Welding Cell Exhaust Fume Extractor Maintenance Log

1.0 Form Objective & Regulatory Context

This Welding Cell Exhaust Fume Extractor Maintenance Log is designed to document routine inspections and maintenance activities for fume extraction systems in welding cells. It satisfies WorkSafeBC requirements under Part 5 (Chemical Agents and Biological Agents) and Part 6 (Substance Specific Requirements) for controlling airborne contaminants, as well as CSA Z462 (Workplace Electrical Safety) for equipment maintenance. Regular logging ensures that exhaust systems operate at peak efficiency, protecting workers from hazardous welding fumes and maintaining compliance with occupational health and safety regulations.

2.0 Administrative Details

Date: ____________________

Time of Inspection: ____________________

Welding Cell ID / Location: ____________________

Inspector Name: ____________________

Extractor Model / Serial Number: ____________________

Maintenance Type (Routine / Corrective / Annual): ____________________

3.0 Audit / Inspection Items

☐ Pass  ☐ Fail - Verify exhaust hood is free of visible damage and securely mounted.

☐ Pass  ☐ Fail - Check flexible ducting for kinks, tears, or disconnections.

☐ Pass  ☐ Fail - Inspect filter condition and replace if clogged or damaged.

☐ Pass  ☐ Fail - Measure airflow at hood face using an anemometer (minimum 100 ft/min).

☐ Pass  ☐ Fail - Record static pressure reading at filter inlet (acceptable range per manufacturer).

☐ Pass  ☐ Fail - Test motor and fan operation for unusual noise or vibration.

☐ Pass  ☐ Fail - Verify electrical connections are secure and free of corrosion.

☐ Pass  ☐ Fail - Check control panel indicators and emergency stop function.

☐ Pass  ☐ Fail - Inspect spark arrestor (if applicable) for debris buildup.

☐ Pass  ☐ Fail - Confirm exhaust discharge is directed away from air intakes and personnel.

☐ Pass  ☐ Fail - Review maintenance log for previous deficiencies and verify corrective actions.

☐ Pass  ☐ Fail - Document any abnormal conditions or immediate hazards observed.

4.0 Corrective Actions & Deficiencies

Issue Description: ________________________________________

Immediate Action Taken: ________________________________________

Parts Required (if any): ________________________________________

Assigned To: ________________________________________

Target Completion Date: ________________________________________

Status (Open / In Progress / Closed): ________________________________________

5.0 Sign-off & Authorization

Inspector Signature: __________________________ Date: ____________

Maintenance Supervisor Signature: __________________________ Date: ____________

Safety Manager Signature (if deficiencies noted): __________________________ Date: ____________

Regulatory Disclaimer: This audit log is a generic safety template. The end-user assumes all liability for validating all inspection parameters against WorkSafeBC, OH&S, and specific equipment manuals before active shop floor deployment.