| [ INSERT YOUR COMPANY NAME HERE ] Maintenance Forms & Logs | Date: ____________________ Log ID: ____________________ Version: 1.0 |
| --- | --- |

Centrifugal Pump Vibration Analysis Alignment Data Sheet

1.0 Form Objective & Asset Scope

This data sheet is used to document vibration analysis readings and alignment measurements for centrifugal pumps in process, HVAC, or water treatment applications. Accurate tracking of vibration trends and shaft alignment is critical to detect early signs of bearing wear, imbalance, misalignment, or resonance, enabling proactive maintenance before catastrophic failure occurs. This log supports compliance with OEM reliability standards and internal asset management programs.

2.0 Administrative & Asset Details

Date: ____________________

Technician Name: ____________________

Machine ID / Asset Tag: ____________________

Pump Model / Serial Number: ____________________

Motor Model / Serial Number: ____________________

Hour Meter Reading (Hours): ____________________

Operating Speed (RPM): ____________________

Coupling Type: ____________________

3.0 Inspection / Parameter Checklist

☐ Pass  ☐ Fail - Verify pump and motor are isolated and locked out before taking measurements.

☐ Pass  ☐ Fail - Record overall vibration velocity (mm/s RMS) at pump inboard bearing (horizontal, vertical, axial).

☐ Pass  ☐ Fail - Record overall vibration velocity (mm/s RMS) at pump outboard bearing (horizontal, vertical, axial).

☐ Pass  ☐ Fail - Record overall vibration velocity (mm/s RMS) at motor drive-end bearing (horizontal, vertical, axial).

☐ Pass  ☐ Fail - Record overall vibration velocity (mm/s RMS) at motor non-drive-end bearing (horizontal, vertical, axial).

☐ Pass  ☐ Fail - Measure and record shaft alignment offset (angular and parallel) using laser alignment tool.

☐ Pass  ☐ Fail - Check and record soft foot condition at pump and motor mounting feet.

☐ Pass  ☐ Fail - Inspect coupling condition for wear, cracks, or rubber deterioration.

☐ Pass  ☐ Fail - Verify foundation bolts and baseplate are tight and free of corrosion.

☐ Pass  ☐ Fail - Record bearing temperature (if applicable) using infrared thermometer.

☐ Pass  ☐ Fail - Check for unusual noise or vibration during operation (audible/ tactile).

☐ Pass  ☐ Fail - Compare readings against baseline or OEM alarm limits and note any exceedances.

4.0 Deficiencies & Work Order Generation

Issue Description (e.g., high vibration at pump inboard bearing, misalignment > 0.05 mm): ________________________________________

Recommended Corrective Action: ________________________________________

Parts Required (e.g., coupling insert, bearing, shims): ________________________________________

Priority Level (Low / Medium / High / Critical): ________________________________________

Work Order Number Generated: ________________________________________

5.0 Sign-off & Return to Operations

Maintenance Technician Signature: __________________________ Date: ____________

Reliability Engineer Review: __________________________ Date: ____________

Operations Supervisor Approval: __________________________ Date: ____________

Regulatory Disclaimer: This maintenance log is a generic template. The end-user assumes all liability for validating all inspection parameters, PM frequencies, and tolerances against specific OEM machinery manuals before active shop floor deployment.