| [ INSERT YOUR COMPANY NAME HERE ] Maintenance Forms & Logs | Date: ____________________ Log ID: ____________________ Version: 1.0 |
| --- | --- |

Commercial Cooling Tower Daily Water Treatment Conductivity Log

1.0 Form Objective & Asset Scope

This daily water treatment conductivity log is designed to track key water quality parameters for commercial cooling towers. Proper water treatment prevents scale formation, corrosion, and biological fouling, which directly impacts heat transfer efficiency and equipment lifespan. This log supports compliance with OEM water treatment guidelines and helps identify trends that require corrective action.

Scope includes all forced-draft and induced-draft cooling towers serving HVAC systems, process cooling, or refrigeration in commercial facilities. This log is critical for reliability engineers and facility managers to ensure optimal water chemistry and minimize unplanned downtime.

2.0 Administrative & Asset Details

Date: ____________________

Technician Name: ____________________

Cooling Tower ID / Asset Tag: ____________________

System Location (e.g., Roof, Mechanical Room): ____________________

Make/Model: ____________________

Hour Meter Reading (if applicable): ____________________

Weather Conditions (e.g., Sunny, Rain, Hot): ____________________

3.0 Inspection / Parameter Checklist

☐ Pass  ☐ Fail - Verify conductivity meter is calibrated per manufacturer instructions.

☐ Pass  ☐ Fail - Record conductivity reading (µS/cm) from tower sump sample.

☐ Pass  ☐ Fail - Record pH reading from tower sump sample.

☐ Pass  ☐ Fail - Record temperature of tower sump water (°C or °F).

☐ Pass  ☐ Fail - Check biocide residual level (ppm) and record value.

☐ Pass  ☐ Fail - Inspect tower basin for visible debris, algae, or sludge accumulation.

☐ Pass  ☐ Fail - Verify chemical feed pumps are operational and dosing correctly.

☐ Pass  ☐ Fail - Check bleed-off (blowdown) valve operation and adjust if needed.

☐ Pass  ☐ Fail - Inspect make-up water float valve for proper operation.

☐ Pass  ☐ Fail - Record make-up water meter reading (if available).

☐ Pass  ☐ Fail - Verify drift eliminators are intact and free of blockage.

☐ Pass  ☐ Fail - Check fan motor amp draw and vibration levels (visual/audible).

4.0 Deficiencies & Work Order Generation

Issue Description (e.g., high conductivity, low pH, algae growth): ________________________________________

Corrective Action Taken (e.g., adjusted bleed-off, added biocide): ________________________________________

Parts Required (e.g., chemical pump rebuild kit, float valve): ________________________________________

Work Order Number (if generated): ________________________________________

Follow-up Required By Date: ________________________________________

5.0 Sign-off & Return to Operations

Maintenance Technician Signature: __________________________ Date: ____________

Reliability Manager Review: __________________________ Date: ____________

Date of Review: __________________________ Date: ____________

Regulatory Disclaimer: This maintenance log is a generic template. The end-user assumes all liability for validating all inspection parameters, PM frequencies, and tolerances against specific OEM machinery manuals before active shop floor deployment.