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Emergency Standby Diesel Generator Monthly Load Bank Testing Log
1.0 Form Objective & Asset Scope
This maintenance log is designed to document the monthly load bank testing of emergency standby diesel generators. The purpose is to verify generator performance under load, prevent wet stacking, ensure fuel system integrity, and confirm that the unit can deliver rated power during an emergency. This log is critical for reliability, compliance with NFPA 110, and extending generator service life.
2.0 Administrative & Asset Details
Date: ____________________
Technician Name: ____________________
Generator ID / Asset Tag: ____________________
Generator Make & Model: ____________________
Hour Meter Reading (Start): ____________________
Hour Meter Reading (End): ____________________
Load Bank Type (Resistive / Reactive / Combined): ____________________
3.0 Inspection / Parameter Checklist
☐ Pass  ☐ Fail - Verify fuel level is adequate for full load test duration.
☐ Pass  ☐ Fail - Check coolant level and antifreeze concentration.
☐ Pass  ☐ Fail - Inspect engine oil level and condition.
☐ Pass  ☐ Fail - Check battery voltage and specific gravity (if accessible).
☐ Pass  ☐ Fail - Inspect air intake and exhaust system for obstructions.
☐ Pass  ☐ Fail - Record coolant temperature at 50% load.
☐ Pass  ☐ Fail - Record oil pressure at 100% load.
☐ Pass  ☐ Fail - Record voltage (L-L and L-N) at 100% load.
☐ Pass  ☐ Fail - Record frequency (Hz) at 100% load.
☐ Pass  ☐ Fail - Record amperage per phase at 100% load.
☐ Pass  ☐ Fail - Verify exhaust temperature within OEM limits.
☐ Pass  ☐ Fail - Check for fuel, oil, or coolant leaks during operation.
4.0 Deficiencies & Work Order Generation
Issue Description: ________________________________________
Parts Required: ________________________________________
Work Order Number Generated: ________________________________________
Priority (Low / Medium / High / Critical): ________________________________________
5.0 Sign-off & Return to Operations
Maintenance Technician Signature: __________________________ Date: ____________
Reliability Manager Review: __________________________ Date: ____________
Facility Manager Approval (if applicable): __________________________ Date: ____________

Regulatory Disclaimer: This maintenance log is a generic template. The end-user assumes all liability for validating all inspection parameters, PM frequencies, and tolerances against specific OEM machinery manuals before active shop floor deployment.

	ServiceGrid CMMS & Maintenance
	ryxen.ca






