| [ INSERT YOUR COMPANY NAME HERE ] Maintenance Forms & Logs | Date: ____________________ Log ID: ____________________ Version: 1.0 |
| --- | --- |

NFPA 110 Emergency Generator Load Bank Testing Log

1.0 Form Objective & Asset Scope

This log is used to document periodic load bank testing of emergency generators as required by NFPA 110. The test verifies the generator's ability to sustain rated load, checks cooling and exhaust systems, and validates automatic transfer switch operation. Proper completion ensures compliance with life safety codes and supports asset reliability in critical facilities such as hospitals, data centers, and industrial plants.

2.0 Administrative & Asset Details

Date: ____________________

Technician Name: ____________________

Generator ID / Asset Tag: ____________________

Generator Make & Model: ____________________

Hour Meter Reading (Start): ____________________

Hour Meter Reading (End): ____________________

Load Bank Type (Resistive / Inductive / Combination): ____________________

Test Duration (Minutes): ____________________

3.0 Inspection / Parameter Checklist

☐ Pass  ☐ Fail - Verify generator starts and reaches rated speed within 10 seconds.

☐ Pass  ☐ Fail - Record steady-state voltage (L-L and L-N) at 25% load.

☐ Pass  ☐ Fail - Record steady-state frequency at 50% load.

☐ Pass  ☐ Fail - Monitor coolant temperature at 75% load (do not exceed OEM limit).

☐ Pass  ☐ Fail - Check oil pressure at 100% load (within OEM spec).

☐ Pass  ☐ Fail - Inspect exhaust system for leaks and excessive heat.

☐ Pass  ☐ Fail - Verify automatic transfer switch (ATS) operation during load transfer.

☐ Pass  ☐ Fail - Record ambient temperature and humidity at test start.

☐ Pass  ☐ Fail - Inspect fuel supply system for leaks and adequate fuel level.

☐ Pass  ☐ Fail - Check battery voltage and charger output during test.

☐ Pass  ☐ Fail - Verify all alarms and shutdowns function correctly (low oil, high temp, overspeed).

☐ Pass  ☐ Fail - Record maximum load applied (kW) and duration at each load step.

4.0 Deficiencies & Work Order Generation

Issue Description (e.g., voltage drop, coolant leak, ATS failure): ________________________________________

Observed Parameter (e.g., voltage reading, temperature, pressure): ________________________________________

Corrective Action Taken: ________________________________________

Parts Required (include part numbers if available): ________________________________________

Work Order Number (if generated): ________________________________________

Follow-up Date / Re-test Required: ________________________________________

5.0 Sign-off & Return to Operations

Maintenance Technician Signature: __________________________ Date: ____________

Reliability Manager Review: __________________________ Date: ____________

Facility Manager Approval (if deficiencies noted): __________________________ Date: ____________

Regulatory Disclaimer: This maintenance log is a generic template. The end-user assumes all liability for validating all inspection parameters, PM frequencies, and tolerances against specific OEM machinery manuals before active shop floor deployment.